No:

UNDERGROUND SERVICES CLEARANCE	Date:

Permit takes 5 working days to complete

Section 1: Services Clearance Request (To be completed by the Contractor) 1.1 Contractor Undertaking Works Name: Company: Tel No: 1.2 Details of Location - Include Sketch/Drawing 1.3 Brief Description of Works and Equipment 1.4 Expected Duration From Date: To Date:

Section 2: Services Clearance (Glasgow Airport Authorised Person) LV Electricity ( Gas ( Water ( Telephone ( Fibre Optic ( HV Electricity ( Drainage ( Street Lighting ( Airfield Lighting ( Other See attached drawing(s) Name: Signature:

Section 3: Acknowledgement (To be completed by the Contractor) 3.1 The responsibility for location of all services lies with the Contractor. 3.2 Reference should be made to Airport Engineering Instruction EI 552. 3.3 Safety: reference should be made to HSE Guidance Note HS (G) 47 “Avoiding danger from underground services”. Please ensure that a copy of this guidance note is read by your site management and other personnel. 3.4 Be aware of Scotland’s utilities (gas, electricity, water and telecomms) free phone one call centre called Susiephone which can be contacted on 0800 800 333. This facility is designed to be used by excavators prior to starting work on site. When contacted, Susiephone will notify all utilities of your proposed works, enabling you to comply with the New Roads and Street Works Act 1991 (if you give sufficient notice) and HS (G) 47. It is not intended to be used for speculative or forward planning enquiries which should continue to be addressed directly to the relevant utilities. 3.5 Services are accurate as far as records permit, but are not warranted as being absolutely correct. 3.6 EXCAVATIONS MUST NOT COMMENCE UNLESS THIS PERMIT IS ACKNOWLEDGED BY THE CONTRACTOR 3.7 The Contractor must provide a Risk Assessment and Method Statement. 3.8 The Contractor must provide ‘As Fitted’ drawings on completion. 3.9 Trial holes MUST be excavated by hand to confirm the position of any buried services within the works area. Hand held power tools and mechanical excavators are the main causes of danger and they should not be used too close to underground services 3.10 Acknowledgement: I have read this section, carried out a survey of the area, understand the hazard of this work and the precautions to be taken. These have been fully explained to the operatives carrying out this work and I consider them competent to proceed safely. Name of Supervisor/Contractor: Title: Tel No: Signature: Date: Time:

Section 4: Authorisation to Dig (Glasgow Airport Authorised Person) 4.1 Approval: The above work is authorised to proceed in accordance with Safety Specifications included in Works Contracts, Engineering Instruction 552 and the requirements set out in the Method Statement. 4.2 This Permit is valid from Date: to Date: 4.3 Additional comments: Authorised by: Title: Tel No: Signature: Date: Time:

Section 5: Cancellation (Contractor and Glasgow Airport Authorised Person) I have completed the work in this Permit, restored the location to a safe and orderly condition and passed the ‘As Fitted’ drawings and information to the Airport Engineering Department Signature: Date: Supervisor/Contractor I accept the work has been completed. Signature: Date: Authorising Authority

Details of as-fitted works carried out and services found during works

(provide sketch on a separate sheet if required):